## Slide 1
Regenerative Stormwater Conveyance & Sand Seepage Wetlands
Nature-based strategies to improve surface water resources and increase our wetland inventory
March 13, 2024
NJ Coastal & Climate Resilience Conference - 2024
Monmouth University, West Long Branch, NJ
Kevin Dahms, PE, Biohabitats
Joe Berg, PWS, CSE, Biohabitats

## Slide 2
OVERVIEW
OVERVIEW
PROJECT DRIVERS
DESIGN APPROACHES
CASE STUDIES
LESSONS LEARNED
2

## Slide 3
PROJECT DRIVERS
3
PROJECT DRIVERS
Courtesy of USGS
DeGaetano, A. (2021)
Office of the New Jersey State Climatologist. (2022)
Notes: Increased frequency and amount of precipitation, increased intensity precipitation/extreme events, combined with increased impervious area and development, plus degraded and deteriorating infrastructure

## Slide 4
PROJECT DRIVERS
4
PROJECT DRIVERS
NJDEP
NJDEP
Notes: Lead to issues such as water quality impairments, flooding, erosion, and pervasive invasive species

## Slide 5
DESIGN APPROACHES
5
DESIGN APPROACHES
Regenerative Stormwater Conveyance (RSC)
Photo Credit: SiteWorks
Sand Seepage Wetlands
Notes: Regenerative Stormwater Conveyance and Sand Seepage Wetlands offer an opportunity address these issues and provide multiple co-benefits through a nature-based approach

## Slide 6
REGENERATIVE STORMWATER CONVEYANCE
6
DESIGN APPROACHES
Eroding outfalls
Sediment runoff
Flashy systems
Risk & liability

## Slide 7
REGENERATIVE STORMWATER CONVEYANCE
7
DESIGN APPROACHES
Notes: Sand is 80% Sand and 20% woodchips

## Slide 8
REGENERATIVE STORMWATER CONVEYANCE
8
DESIGN APPROACHES
Sand Seepage Bed
Notes: Can mix sand and woodchips mixed in-situ – 4 truckloads of sand, 1 truckload of woodchips

## Slide 9
REGENERATIVE STORMWATER CONVEYANCE
9
DESIGN APPROACHES
Riffle Grade Controls
Notes: 100-year storm so it doesn’t transport a 1-inch particle

## Slide 10
REGENERATIVE STORMWATER CONVEYANCE
10
DESIGN APPROACHES
During Runoff Event

## Slide 11
REGENERATIVE STORMWATER CONVEYANCE
11
DESIGN APPROACHES
Notes: Red are monitored post development of full suite of LID BMPs

## Slide 12
REGENERATIVE STORMWATER CONVEYANCE
12
DESIGN APPROACHES
Source: Solange Filoso, University of Maryland

## Slide 13
REGENERATIVE STORMWATER CONVEYANCE
13
DESIGN APPROACHES
Source: Solange Filoso, 2012
7
17
3
6
3
6
5
36 vs. 11
Notes: Reduce # of runoff events up to 1 inch, draining 11 acres of 35% impervious surface – this is just one site, 2/3 reduction in runoff events for WQV or less

## Slide 14
REGENERATIVE STORMWATER CONVEYANCE
14
DESIGN APPROACHES
Source: Solange Filoso, 2012
Sandy

## Slide 15
REGENERATIVE STORMWATER CONVEYANCE
15
DESIGN APPROACHES
Source: Solange Filoso, 2012

## Slide 16
SAND SEEPAGE WETLANDS
16
DESIGN APPROACHES
Poor water quality
Eroded channels and gullies
Concentrated flow paths
Degraded habitat
Low biodiversity
Notes: RSC is more focused on vertical treatment, whereas Sand Seepage is horizonatal

## Slide 17
SAND SEEPAGE WETLANDS
17
DESIGN APPROACHES
Notes: Spread flow out across the site, elongate flow paths
Surface area that water is in contact and time that water is in contact with – which contribute to the functional value and ecosystem services

## Slide 18
SAND SEEPAGE WETLANDS
18
DESIGN APPROACHES
Notes: Allowing us to use stormwater runoff to create wetland hydrology – more natural hydrology

## Slide 19
SAND SEEPAGE WETLANDS
19
DESIGN APPROACHES
Seepage berm/trail during construction
Seepage reservoir

## Slide 20
SAND SEEPAGE WETLANDS
20
DESIGN APPROACHES
Dynamic soil system, not static sand bed

## Slide 21
TEANECK CREEK PARK RESTORATION
Teaneck Creek Park, Teaneck, NJ
Part of Overpeck County Park
21
21
Case Study 1 – Teaneck Creek Park Restoration

## Slide 22
SITE LAND USE AND CONTEXT
22
Case Study 1 – Teaneck Creek Park Restoration
Notes: It was a slated dump

## Slide 23
EXISTING CONDITIONS
23
Case Study 1 – Teaneck Creek Park Restoration
Eroding stormwater gullies
Eroding brook

## Slide 24
RESTORATION PLANS
Regenerative stormwater conveyance
Sand seepage wetlands
Invasive species management (mechanical/chemical)
Native plantings
Trail rehabilitation
Debris pile removal
Lookout berm creation
24
Case Study 1 – Teaneck Creek Park Restoration

## Slide 25
REGENERATIVE STORMWATER CONVEYANCE
25
Case Study 1 – Teaneck Creek Park Restoration

## Slide 26
HILLSIDE RSC - BEFORE
26
Case Study 1 – Teaneck Creek Park Restoration

## Slide 27
HILLSIDE RSC – DURING CONSTRUCTION
27
Case Study 1 – Teaneck Creek Park Restoration

## Slide 28
HILLSIDE RSC – POST PLANTING
28
Case Study 1 – Teaneck Creek Park Restoration

## Slide 29
HILLSIDE RSC – DURING RUNOFF EVENT
29
Case Study 1 – Teaneck Creek Park Restoration

## Slide 30
SAND SEEPAGE WETLANDS
30
Case Study 1 – Teaneck Creek Park Restoration

## Slide 31
SAND SEEPAGE WETLANDS - BEFORE
31
Case Study 1 – Teaneck Creek Park Restoration

## Slide 32
SAND SEEPAGE WETLANDS – POST EXCAVATION
32
Case Study 1 – Teaneck Creek Park Restoration
Photo Credit: SiteWorks

## Slide 33
SAND SEEPAGE WETLANDS – DURING
33
Case Study 1 – Teaneck Creek Park Restoration

## Slide 34
SAND SEEPAGE WETLANDS – DURING/POST PLANTING
34
Case Study 1 – Teaneck Creek Park Restoration
Photo Credit: SiteWorks
Photo Credit: David Ike

## Slide 35
SAND SEEPAGE WETLANDS – POST PLANTING
35
Case Study 1 – Teaneck Creek Park Restoration

## Slide 36
SAND SEEPAGE WETLANDS – 1-YEAR
36
Case Study 1 – Teaneck Creek Park Restoration
Photo Credit: David Ike
Photo Credit: David Ike

## Slide 37
SAND SEEPAGE WETLANDS – 1-YEAR
37
Case Study 1 – Teaneck Creek Park Restoration
Photo Credit: David Ike
Photo Credit: David Ike

## Slide 38
LIZARD HILL SAND MINE RECLAMATION & RESTORATION
Ocean City, MD
38
Case Study 2 – Lizard Hill Sand Mine Reclamation & Restoration
Notes: Knoll between 2 streams that was mined for sand

## Slide 39
SAND SEEPAGE WETLANDS - EXISTING CONDITIONS
39
Case Study 2 – Lizard Hill Sand Mine Reclamation & Bishopville Pond Restoration

## Slide 40
SAND SEEPAGE WETLANDS - EXISTING CONDITIONS
40
Case Study 2 – Lizard Hill Sand Mine Reclamation & Bishopville Pond Restoration

## Slide 41
SAND SEEPAGE WETLANDS - DURING CONSTRUCTION & PLANTING
41
Case Study 2 – Lizard Hill Sand Mine Reclamation & Bishopville Pond Restoration

## Slide 42
SAND SEEPAGE WETLANDS – 10 YEARS POST PLANTING
42
Case Study 2 – Lizard Hill Sand Mine Reclamation & Bishopville Pond Restoration

## Slide 43
SAND SEEPAGE WETLANDS
43
Case Study 2 – Lizard Hill Sand Mine Reclamation & Bishopville Pond Restoration

## Slide 44
SAND SEEPAGE WETLANDS - DURING CONSTRUCTION & PLANTING
44
Case Study 2 – Lizard Hill Sand Mine Reclamation & Bishopville Pond Restoration

## Slide 45
SAND SEEPAGE WETLANDS – 2-3 YEARS POST PLANTING
45
Case Study 2 – Lizard Hill Sand Mine Reclamation & Bishopville Pond Restoration

## Slide 46
LESSONS LEARNED
Communication to stakeholders
Collaboration between project partners
Understanding timeline and schedule
Phasing of large projects
Site stabilization and vegetation establishment
Multi-pronged invasive species control (and long-term stewardship)
Restoration takes time
Monitoring is valuable for communication and buy-in
46
Lessons Learned
Photo Credit: David Ike

## Slide 47
Thank You
Questions?
Kevin Dahms, PE – Biohabitats
kdahms@biohabitats.com
47
Photo Credit: David Ike

## Slide 48
DESIGN APPROACH
Remove historical fill and debris and import sand and woodchips
to create more natural soil conditions that better support native plants
Slow water flow and redirect surface flows
to promote infiltration that will raise groundwater table
and to better resemble historic and create longer flow paths
Enhance Teaneck Creek connections
with improved riparian/floodplain habitat
Create more open water and wet areas
to enhance how wetland, stream and riparian habitats function
Enhance public experience
improve trail design, create diversity of habitats, block noise from Degraw Avenue
48
PROJECT APPROACH

## Slide 49
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
49
PROJECT APPROACH

## Slide 50
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
Hillside RSC - After
50
PROJECT APPROACH

## Slide 51
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
Oakdene RSC - Before
51
PROJECT APPROACH

## Slide 52
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
Oakdene RSC - After
52
PROJECT APPROACH

## Slide 53
PROJECT DETAILS – SAND SEEPAGE WETLANDS
53
Sweet Flag
Big Bluestem
Tussock sedge
Virginia Wild Rye
Swamp Rose Mallow
Soft Rush
Hardstem Bulrush
Common Threesquare
Swamp Milkweed
Harlequin Blueflag
Green Arrow Arum
Pickerel Weed
Lizard's Tail
Northern sea oats
Wild Blue Indigo
Common boneset
Purple Joe-Pye
Switchgrass
Black-Eyed Susan
New England Aster
Butterfly Weed
Wild Bergamot
Spotted Beebalm
Indiangrass
Broomsedge Bluestem
Canada Goldenrod
Little Bluestem
Tufted Hairgrass
White Wood Aster
Pennsylvania Sedge
Silver Maple
Sweet Pepperbush
Silky Dogwood
Witch-hazel
Common Winterberry
Spice Bush
Black gum
Arrowwood viburnum
Chestnut Oak
Atlantic White Cedar
Eastern Red Cedar
Eastern Redbud
Blackhaw Viburnum
Common persimmon
Lowbush Blueberry
White Oak
Gray Dogwood
New Jersey Tea
Bearberry
Shadbush
Smooth Sumac
PROJECT APPROACH

## Slide 54
PROJECT METRICS
Over 20 acres of habitat restoration
430 linear feet of stormwater channel restoration
16 debris piles removed or capped
54
PROJECT APPROACH
Photo Credit: David Ike
Photo Credit: David Ike

## Slide 55: Wetlands Research & Restoration Design Environmental Data Collection
Groundwater Sampling
  Nitrogen and Phosphorus Concentrations
Surface Water Sampling
  Low Flow/Stormwater and Nitrogen/Phosphorus
Vegetation Survey
  Floristic Quality Evaluation
Sediment/Soil Sampling
  Soil Characteristics and Carbon/Nitrogen/Phosphorus
Atmospheric Deposition Data
  Dry and Wet Weather Nitrogen Deposition

## Slide 56: Wetlands Research & Restoration Design Soils and Floristic Quality Index
Soil Quality of Each 100m x 100m Teaneck Creek Sampling Unit
Floristic Quality of Each 100m x 100m Teaneck Creek Sampling Unit
TCC Office

## Slide 57
Wetlands Research & Restoration Design Hydrologic Model & Water Budget
Surface Water Routing Through Teaneck Creek Wetlands
Teaneck Creek Wetland Areas

## Slide 58
PROJECT COSTS
Construction - $5.6M (plus...)
Planning, Design, Permitting (restoration only) – $445,000

## Slide 59
TYPICAL COSTS
RSC
$400-$800 per LF for construction
  Dependent on length, slope, cross sectional area, access, etc.
  Could be double if difficult conditions
$130-$160 per LF for design
  Very dependent on site conditions
Sand Seepage Wetlands
Very site dependent
Costs associated with site clearing, invasive control, excavation, fill material, planting

## Slide 60
Design Details
RSC
Hillside RSC
  56.5 acre drainage area
  210 CFS for 100-year event
Oakdene RSC
  19.0 acre drainage area
  74 CFS for 100-year event

## Slide 61
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
61

## Slide 62
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
62

## Slide 63
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
63

## Slide 64
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
64

## Slide 65
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
65

## Slide 66
PROJECT DETAILS – REGENERATIVE STORMWATER CONVEYANCE
66

## Slide 67
PROJECT DETAILS – SAND SEEPAGE WETLANDS
67

## Slide 68
PROJECT DETAILS – SAND SEEPAGE WETLANDS
PROJECT APPROACH
68

## Slide 69
PROJECT DETAILS – SAND SEEPAGE WETLANDS
PROJECT APPROACH
69

## Slide 70
PROJECT DETAILS – SAND SEEPAGE WETLANDS
70
5.61 ac, 28%
9.73 ac, 48%
0.6 ac, 3%
1.78 ac, N/A
0.21 ac, 1%
0.12 ac, N/A
1.18 ac, 6%
0.19 ac, 1%
1.53 ac, 8%
0.90 ac, 4%
0.27 ac, 1%
0.04 ac, <1%

## Slide 71
PROJECT DETAILS – CONSTRUCTION

## Slide 72
PROJECT DETAILS – CONSTRUCTION

## Slide 73
PROJECT DETAILS – CONSTRUCTION